``     r Urban

For: Your home, Schools, - Factories, Agriculture Farms, Orphanage Centers, and Trading Centers

For urban and rural development

P.O. Box.34448, Kampala (U), Tel: 0781- 460613 /0752- 501471/ 0392-878840/0392916483

Email;livingwatertechnologies@yahoo.com

-

11th/01/2020

UGANDA ST.BRUNO WATER AND ENERGY PROJECT KAKIRI.

| NO |  | ITEM | UNIT | QTY |  | RATE IN USD | AMOUNT IN USD |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 |  | Hydro water survey | No |  |  |  | 500 |
| 02 |  | Mobilization of drilling crew to site. | Ls | 1 |  | 610 | 610 |
| 03 |  | Setting up and dismantling at the site. | No | 1 |  | 1000 | 1000 |
| 04 |  | Shift between sites. | Km | 0 |  | 50 | 50 |
| 05 |  | Drilling at 215J 2032mm diameter including and removal of 203mm temporally casing | m | 45 |  | 60 | 2700 |
| 06 |  | Drilling in hard rock at 152/165mm diameter. | m |  |  |  | 2800 |
| 07 |  | Sampling and storing of drill cutting at 3m intervals, or as instructed by the engineer. | No | 1 |  | 100 | 100 |
| 08 |  | Supply and installation of PVC plain casing. | m | 21 |  | 40 | 840 |
| 09 |  | Supply and installation of PVC screen casing. | m | 3 |  | 50 | 150 |
| 10 |  | Supply and installation of gravel packer. | Bags | 70 |  | 5 | 350 |
| 11 |  | Supply and installation of inert back fill. | Bags | ton |  |  | 120 |
| 12 |  | Casting a sanitary seal. | No | 1 |  |  | 50 |
| 13 |  | Well development. | Hr. | 1 |  | 40 | 40 |
| 14 |  | Test pump installation and removal. | No | 1 |  | 50 | 50 |
| 15 |  | Pumping time. | Hr. | 3 |  | 50 | 150 |
| 16 |  | Recovery time. | Hr. | 1 |  | 20 | 20 |
| 17 |  | Water sampling and water quality analysis. | No | 1 |  |  | 100 |
| 18 |  | Well capping. | No | 1 |  |  | 40 |
| 19 |  | Pedestal | No | 1 |  | 120 | 120 |
| 20 |  | Cement. | bags | 3 |  | 30 | 90 |
| Sub total |  |  |  |  |  |  | 9880 |
| Installation Phase two |  |  |  |  |  |  |  |
|  | Solar pump |  |  |  | 1820 |  | 1820 |
|  | Solar wire |  | m | 70 | 8 |  | 560 |
|  | censor |  |  |  |  |  | 50 |
|  | Censor wire |  | m |  | 40 |  | 40 |
|  | Solar array try |  |  |  | 50 |  | 50 |
|  | Solar panel |  | watts |  | 1450 |  | 1450 |
|  | Control panel |  |  |  |  |  | 500 |
|  | Casting |  |  |  |  |  | 100 |
|  | Cable tie |  |  |  |  |  | 30 |
|  | Insulating tape |  |  |  |  |  | 25 |
|  | Pipe 1’’ |  |  |  |  |  | 250 |
|  | Blue pipes |  | inch | 1*3/4 | 20 |  | 20 |
|  | Tank |  | ltr | 10,000 | 850 |  | 850 |
|  | Stand tank |  |  |  |  |  | 1000 |
|  | Transport |  |  |  |  |  | 500 |
| Sub total |  |  |  |  |  |  | 7245 |
| Grand total |  |  |  |  |  |  | 17325 |

Accounts are due on demand

Amount in word: